###### Comhairle Contae Mhaigh Eo

**Appendix 1**

**Boil Water Notices**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **GWS NAME** | **Location (Municipal District)** | **Commencement Date** | | **Water Quality Failure** | **Proposed Action** |
| **Sraheens GWS** | Foxford (Ballina Municipal District) | 12/11/2015 | | No chlorine in Network | Chlorine levels raised in Plant, negotiations ongoing with DBO operator to take over rising mains and install chlorine boosting. |
| **Knockinakell GWS** | Claremorris (Claremorris Municipal District) | 11/12/2015 | | 16 Coliforms 1E.coli | Following site Audit HSE sampled and recommended BWN as the GWS has 0 treatment. |
| **Cornboy GWS** | Erris (West Mayo Municipal District) | 25/08/2016 | | 176 Coliforms | HSE Sampled scheme, twice, both times failed and recommended BWN. Scheme due to scour and disinfect. |
| **Robeen GWS** | Claremorris (Claremorris Municipal District) | 03/10/2016 | | 1 cryptosporidium oocysts | Further investigation into improvement in source. |
| **Johnstown/**  **Lavallyroe GWS** | Ballyhaunis (Claremorris Municipal District) | | 08/11/2018 | 41 Coliforms 19 E.coli | HSE Sampled well, wq failed and BWN was recommended. |
| **Rossport GWS** | Erris (West Mayo Municipal District) | | 08/11/2018 | 201 Coliforms 83 E.coli | HSE Sampled well, wq failed and BWN was recommended. |
| **Errew/Killeen/**  **Castlehill GWS** | Crossmolina (Ballina Municipal District) | | 9/10/2019 | 21 Coliforms 8 E.coli | Water Quality Failure,  BWN was recommended |
| **Barnacarroll** | Claremorris Municipal District | | 20/08/2020 | Coliforms & E. coli | Water Quality Failure.BWN was  recommended |